## FRData
生成校验证书单位：
pC/g (仅限 mV/g 数据)
哈迪振动台-校验装置
报告生成专用电子表格
Version: 3.2.4
输入参考基准频率 | 100
频率响应数据表
频率 | 幅值 | 灵敏度 | 偏差
|  | 0 | %
2) 查看校验证书
1) 导入文件数据
清空表格
HI-903 PRO

## LINData
|  |  | 哈迪振动台-校验装置 |  | 1) 输入位移与输出信号单位
报告生成专用电子表格
|  |  | Version: 3.2.4 |  | 2) 输入实测数据
FALSE
动态线性度数据表格 |  |  |  |  | 静态趋近式探头 / 4-20 mA 振动传感器 校验数据表格
测试频率: |  |  | 线性度最大值: | 0.00 % |  |  |  | 线性度最大值: | 0.00 %
序号 | 输入 | 输出 | 灵敏度 | 线性度 | 序号 | Acceleration | 输出 | 灵敏度 | 线性度
|  |  | 0 | % |  | g pk | mV | mV/g | %
1 |  |  |  |  | 启动点
2 |  |  |  |  | 1
3 |  |  |  |  | 2
4 |  |  |  |  | 3
5 |  |  |  |  | 4
6 |  |  |  |  | 5
7 |  |  |  |  | 6
8 |  |  |  |  | 7
9 |  |  |  |  | 8
10 |  |  |  |  | 9
11 |  |  |  |  | 10
12 |  |  |  |  | 11
13 |  |  |  |  | 12
14 |  |  |  |  | 13
15 |  |  |  |  | 14
16 |  |  |  |  | 15
17 |  |  |  |  | 16
18 |  |  |  |  | 17
19 |  |  |  |  | 18
20 |  |  |  |  | 19
21 |  |  |  |  | 20
22 |  |  |  |  | 21
23 |  |  |  |  | 22
24 |  |  |  |  | 23
25 |  |  |  |  | 24
26 |  |  |  |  | 25
27
28
29
30
Y轴截距归零
2) 查看校验证书
3) 查看校验证书
1) 导入文件数据
清空表格
清空表格
HI-903 PRO

## Route Creator
哈迪振动台 - 校验装置
校验路径生成表格
Version: 3.2.4
|  | PVC 版本 | 6.0 or later
路径名称 |  | 路径类型 |  | 传感器类型
频率单位 |  | 下限值 |  | 传感器型号
幅值 |  | 上限值
幅值单位 |  | 标称灵敏度
频率 | 幅值 | 幅值单位 | 下限值 | 上限值
Note on D8: When Hard Limit, Lower and Upper Bounds are percentage deviation from Nominal Sens. When ISO, Lower and Upper Bounds are percentage from the calculated SUT sensitivty at reference frequency. The first test point is the reference frequency, whose bounds are calculated as percentage deviation from Nominal Sens. Do not use ISO for sensors that are tested for linearity such as proximity probes.
Note on A15: In ISO route type, this is the reference frequency. All other bounds will be based on the sensitivity derived here.
1) 表格自动填充
2) 生成路径文件
重置表格
HI-903 PRO

## Vib Analyzer Data
~ 振动分析仪校验证书 ~
| 分析仪/仪表 信息 * |  |  | 分析仪 设置 *
| 制造商: |  |  | 分析仪工作模式:
| 型号: |  |  | 频率最大值:
| 系列号: |  |  | 频率最小值:
| 校验人员: |  |  |  |  | 频率单位:
| 校验日期: |  |  | 分辨率线数:
| 有效期截止日: |  |  | 平均叠加点数:
窗函数类型:
传感器输入灵敏度:
单位:
测试设备 信息 *
| 描述 | 型号 | 系列号 |  | 校验日期 | 标称校验灵敏度 @ 100Hz | 单位 | 实测灵敏度 @ 100Hz | 单位 | % 允许误差 | % 实测偏差
| 标准振动台 | [5 empty] | mV/g |  | mV/g | 3%
| 传感器 | [5 empty] | mV/g |  | mV/g | 5%
数字万用表
0.75
|  | 1 |  |  |  | 1
序号 | 标准给定值 |  | 实测数值 |  |  | % 偏差 |  |  | 测试 *
| 幅值 | 频率 | 幅值 |  | 频率 | 幅值 | 频率 |  | 测试频率:
1 | [8 empty] | 频率单位:
2
3 | [8 empty] | 测试幅值:
4 | [8 empty] | 幅值单位:
5
6
7
8
9
10
11
12
13
14
15
打印线性测试校验证书
打印频率响应测试证书
重置表格
Load Frequency Test Route
受振动台自身性能限制，无法在全转速下维持恒定幅值，亦无法在全幅值工况下维持恒定频率。
如遇上述情况，尽管校验结果依然有效，但最佳操作规范要求在证书的备注栏中对激励信号无法满足要求的测试点进行记录说明。

## FRCert
~ 校验证书 ~
传感器信息: |  | 校验数据 |  |  |  | 传感器参数
型号 |  | #N/A |  | #N/A | 0 | 幅值量程: |  | g
系列号 |  | 测试档位: |  | #N/A |  | 分辨率: |  | g
制造商 | [5 empty] | 谐振频率: |  | Hz
ID号码 | [5 empty] | 温度使用范围: |  | oC
说明
Calibration Data:
|  | Sensitivity at | #N/A |  | 0
|  | Ref. Frequency | 0 |  | Hz
数据表
频率 () | 偏差 (%) | 备注
100 | 2 | 本次结果仅针对被校验设备有效。
200 | 3 | 未经书面许可，本证书不得全文以外形式复制转载。
300 | 4
400 | 5 | 本次校验使用Metrix HI-903 PRO便携式振动校验台完成。
依据 ISO 16063-21 标准执行背对背比对校验。
用户备注
客户信息:
|  | 设备状态 |  |  |  | 实验室环境
|  | 校准前状态: |  |  |  | 温度: |  | oC
|  | 校准后状态: |  |  |  | 湿度: |  | %
审核信息
|  | 检测人员: |  |  |  | 校验日期: | 0
|  | 审核人员: |  |  |  | 校验时间: | 0:00
有效期截止日:
Note on B15: As Found: N/A As Found: In Tolerance As Found: Out of Telerance
Note on B16: As Left: In Tolerance As Left: Out of Tolerance
Note on E49: As Found: N/A As Found: In Tolerance As Found: Out of Telerance
Note on E50: As Left: In Tolerance As Left: Out of Tolerance

## LINCert
~ 线性度证书 ~
| 传感器信息 |  |  | 校验数据 |  |  |  |  | 传感器参数
| 型号: |  |  | 灵敏度 @ 测试频率.: |  | #VALUE! | 0 |  | 幅值量程:
| 系列号: | [7 empty] | 分辨率:
| 制造商: |  |  | 测试频率 |  |  |  |  | 谐振频率: |  |  | Hz
| ID号码: | [7 empty] | 温度使用范围: |  |  | oC
|  |  |  | 线性度: |  | 0.00 | %
幅值线性度
数据表
| 输入 () | 输出 () | 线性度 (%) |  | 备注
本次结果仅针对本次被校验设备有效。
未经书面许可，本证书不得部分复制，仅可完整复制。
本次校验使用Metrix HI-903 PRO便携式振动校验台完成。
依据 ISO 16063-21 标准执行背对背比对校验。
用户备注：
客户信息：
[5 empty] | 设备状态 |  |  | 实验室状态
[5 empty] | 校准前状态: |  |  | 温度: |  |  | °C
校准后状态:
[8 empty] | 湿度: |  |  | %
审核信息
[5 empty] | 检测人员: |  |  | 校验日期: |  | 0
[5 empty] | 审核人员: |  |  | 校验时间: |  | 0:00
有效期截止日:

## SLINCert
~ 线性度证书 ~
| 传感器信息 |  |  | 校验数据 |  |  |  |  | 传感器参数
| 型号: |  |  | 灵敏度: |  |  | mV/g pk |  | 幅值量程: |  | g
| 系列号: | [7 empty] | 分辨率: |  | g
| 制造商: |  |  | 线性度: |  | 0.00 | % |  | 谐振频率: |  | Hz
| ID号码: | [7 empty] | 温度使用范围: |  | oC
幅值线性度
| 数据表 |  |  |  | 备注
| 输入 (g pk) | 输出 (mV) | 线性度 (%) |  | 本次结果仅针对本次被校验设备有效。
未经书面许可，本证书不得部分复制，仅可完整复制。
|  |  | n/a |  | 数据表已按起始点（标称直流 - 3 伏）进行归一化处理。
位移数据必须以基准零点为起点，按数值从小到大递增顺序录入。
客户信息
用户备注
[5 empty] | 设备状态 |  |  | 实验室状态
[5 empty] | 校准前状态: |  |  | 温度: |  | °C
[5 empty] | 校准后状态: |  |  | 湿度: |  | %
审核信息
[5 empty] | 检测人员: |  |  | 校验日期:
[5 empty] | 审核人员: |  |  | 有效期截至日:

## FRRaw (hidden)
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FALSE

## Vib Analyzer Cert (hidden)
~ Vibration Analyzer Certification ~
| Analyzer/Meter Information |  |  | Analyzer Settings
| Manufacturer: |  |  | Analyzer mode:
| MN: |  |  | Frequency Max:
| SN: |  |  | Min:
| Cal Tech: |  |  | Unit:
| Cal date: |  |  | # of Line:
| Cal due: |  |  | Averaging Points:
Window Type:
Analyzer Sensor Input Sensitivity:
Test Equipment
| Description | MN | SN |  | Cal. Date |  | Sensitivity @ 100 Hz |  | % Tolerance | % Deviation
| PVC | [6 empty] | mV/g | 3%
| Sensor | [6 empty] | mV/g | 5%
DMM
| Data Table |  |  |  |  | Customer:
| Input () | Measured () | % Deviation
Note:
Traceable to NIST and PTB. Piezoelectric sensor sensitivity tested by back-to-back comparison per ISO 16063-21. This certificate may not be reproduced except in full, without written permission.

## VersionInfo (hidden)
Current Report Workbook Version: |  | Version: 3.2.4
Version | Changes
2.0.2 | Introduced Version Log
2.0.3 | Edited the Route Creator sheet. The decimal place of the amplitude value is now limited based on the selected amplitude unit.
3.0.0 | In LINData: unlocked H12 and created a drop down menu for acceleration, velocity, and displacement. Modified H13 and created a linked list for the amplitude, velocity and displacement options available on the PVC. Modified I13 and created a drop down list for Volts and mA. Got rid of line 14 (was called "starting point"). Changed the name of table in G10 to "Static Proximity Probe/4-20 mA Vibration Sensor Calibration Data Table" (did not record original name). In FRData: Added checkbox at top right to allow the inline charge amp sensitivity to be displayed. Added the charge amp sensitivity text box. The charge amp sensitivity is now displayed on the Cal Cert.
3.0.1 | Edited FRData and FRRaw to update the sensitivity displayed in FRData to show mV/pC when "Create Calibration Certificate in pC/g" to pC/g…
3.0.3 | Fixed MRS PV note on CPM vs Hz
3.0.4 | Fixed all MRS PV notes, set all worksheets top start in the same cell when activating worksheet, set all worksheets to automatically lock when activated
3.0.8 | Prompt users to save Calibration route file in ":\CalRecords_PVC\Calibrtion_Route\"
3.0.9 | Check for illegal character in Route Name or Sensor MN
Replace comma decimal separator to point separator
Fix graphing display on SLinCert
3.1.0 | Added charge mode sensor support to the Route Creator tab.
3.2.0 | Added ISO route creator and support for changes in 6.0 route
3.2.1 | Fixed using comma as the seperator for route creator
3.2.2 | Fixed data point range in Save_Route_File routine of Generate_CalRoute module (fixed bug where only 28 points were written instead of all 30)
3.2.3 | Updated logo
3.2.4 | Removed "Load Test Route" button from Vib Analyzer Data tab & fixed VB error

## RouteRaw (hidden)
| Frequency Units | Sensor Type | Amplitude Units | filenames |  | Analyzer window
1 | Hertz | ICP |  | pvc_route
2 | CPM | Voltage | g pk | pvc_route2 | 1 | Hanning | 1 | mV/EU | 1 | Hz | 1 | g pk | 1 | Hertz | 1 | 1 | Spectra
|  | Modulated Current | g RMS | pvc_route3 | 2 | Hamming | 2 | V/EU | 2 | CPM | 2 | g RMS | 2 | CPM | 2 | 2 | Overall
|  | Charge | in/s pk |  | 3 | Flattop |  |  |  |  | 3 | in/s pk | 3 |  |  | 3 | Time waveform
|  | PR | in/s RMS |  | 4 | Uniform |  |  |  |  | 4 | in/s RMS | 4
|  |  | mil p-p | [7 empty] | 5 | mil p-p | 5
|  |  | m/s2 pk | [7 empty] | 6 | m/s2 pk | 6
|  |  | m/s2 RMS | [7 empty] | 7 | m/s2 RMS | 7
|  |  | mm/s pk | [7 empty] | 8 | mm/s pk | 8
|  |  | mm/s RMS | [7 empty] | 9 | mm/s RMS | 9
|  |  | um p-p | [7 empty] | 10 | um p-p | 10
Linearity Test
|  | Test Frequency: | N/A
Frequency Unit:
Amplitude Unit:
|  | Abs. Max Deviation (%): | 0
Frequency Response Test
|  | Test Amplitude: | N/A
Amplitude Unit:
Frequency Unit:

## Linfit Worksheet (hidden)
PLEASE DO NOT DELETE THIS TABLE (USED FOR LINEARITY CALCULATION) | [8 empty] | Test Level |  | Linfit | Linearity | [5 empty] | Acceleration | g pk | in/s pk | mil p-p | V | g pk | g | g pk | g | Hard Limit | 6.0 or later
For Dynamic Linearity |  | test level | mVpk | linfit (mVpk) | linearity %FS | Absolute | zero line | For Static Linearity | g pk | mV | mV | % | [5 empty] | Velocity | g RMS | in/s RMS | mil | mV | g RMS | g |  |  | ISO | 5.3 or earlier
|  | 0 |  | 0 |  |  | 0 | SLOPE | [9 empty] | Displacement | m/s2 pk | mm/s pk | um p-p | mA | in/s pk | in/s
Slope: | #VALUE! | [6 empty] | #VALUE! | [10 empty] | m/s2 RMS | mm/s RMS | um | uA | in/s RMS | in/s
FS linfit (mVpk) | [7 empty] | INTERCEPT | [5 empty] | Test Level |  | Linfit | Linearity | [5 empty] | m/s2 pk | m/s2
max linearity | 0 | [6 empty] | #VALUE! |  |  |  |  | Point | g pk | mV | mV | % | [5 empty] | m/s2 RMS | m/s2
Sensitivity () | #VALUE! | [6 empty] | ymax |  |  |  |  | Reference | [9 empty] | mil p-p | mil
[8 empty] | 0 |  |  |  |  | 1 | [9 empty] | mm/s pk | mm/s
Slope: | #VALUE! | [6 empty] | xmax |  |  |  |  | 2 | [9 empty] | mm/s RMS | mm/s
Y-Intercept | #VALUE! | [6 empty] | 0 |  |  |  |  | 3 | [9 empty] | um p-p | um
xMax | 0 | [6 empty] | sensitivity |  |  |  |  | 4
yMax | 0 | [11 empty] | 5 | [12 empty] | FALSE
xMin | 0 | [11 empty] | 6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
[8 empty] | Report Workbook Version: |  | Version: 3.2.4 |  |  | 22
23
24
25